{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["预估数量总表","2022年空调及新风需求明细"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"预估数量总表","index":0,"n_rows":10,"n_cols":2,"rows_kept":10,"merged":[[0,0,0,1]],"flags":["formulas_cached_only"]}
["云南省分行2022年空调和新风设备数量"]
["设备类型","数量"]
["1.5P挂机（台）",37]
["2P天花机（台）",4]
["3P天花机（台）",26]
["5P天花机（台）",15]
["铜管(m)",2460]
["新风全热交换器(600风量)（台）",24]
["风管（m）",720]
["注：每台空调预计使用30m铜管，每台新风全热交换器预计使用30m风管"]

{"sheet":"2022年空调及新风需求明细","index":1,"n_rows":38,"n_cols":25,"rows_kept":38,"merged":[[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,0,6],[0,11,0,12],[0,15,0,16],[0,18,0,19],[2,0,6,0],[8,0,10,0],[12,0,17,0],[20,0,22,0],[24,0,26,0],[27,0,32,0],[37,0,37,3]],"flags":["formulas_cached_only"]}
["机构","网点","网点建设类型","设备需求类型","现金区",null,null,"信贷业务区","理财室","行长室","职工小家","休息洽谈区",null,"综合管理部","机房","营业大厅",null,"会议室","开敞办公区",null,"办公楼","备注"]
[{"$nulls":4},"3P天花机","2P天花机","新风全热交换器(600风量)","1.5P挂机","1.5P挂机","1.5P挂机","1.5P挂机","1.5P挂机","3P天花机","1.5P挂机","1.5P挂机","3P天花机","5P天花机","3P天花机","5P天花机","3P天花机","1.5P挂机"]
["昆明分行","王家桥支行","搬迁","更换",1," ",1,1,{"$nulls":6},1,null," "," "," ",null,null," "," "," "," "]
[null,"禄劝支行","无","更换",1," ",1," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
[null,"东川支行","无","更换",1," ",1," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
[null,"西山区支行","无","更换",1," ",1," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
[null,"安宁市支行","无","更换",1," ",1," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
["西双版纳分行","州分行办公楼","无","更换"," "," "," "," ",{"$nulls":5}," "," "," "," "," ",null,null,2]
["大理分行","巍山县南诏镇支行","新建","新增"," "," ",1," ",{"$nulls":5}," "," "," "," "," ",null,null," "]
[null,"弥渡县建安路支行","无","更换"," "," "," "," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
[null,"大理市支行营业部","无","更换"," "," "," "," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
["昭通分行","水富市云富支行","新建","新增"," "," ",1," ",{"$nulls":5}," "," "," ",2," ",null,null," "]
["红河分行","个旧市金湖西路支行","无","更换"," "," "," "," ",{"$nulls":5}," ",1," "," "," ",null,null," "]
[null,"弥勒市支行","无","更换"," "," "," "," ",{"$nulls":5},1," "," "," "," ",null,null," "]
[null,"泸西迎宾路支行","无","更换"," "," "," ",1,{"$nulls":5}," "," "," "," "," ",null,null," "]
[null,"河口天香街支行","无","更换"," "," "," ",1,{"$nulls":5}," "," "," "," "," ",null,null," "]
[null,"州分行公司部","无","更换"," "," "," "," ",{"$nulls":5}," "," "," "," "," ",null,null,1]
[null,"州分行小企业部","无","更换"," "," "," "," ",{"$nulls":5}," "," "," "," "," ",null,null,1]
["保山分行","施甸县人民路支行","新建","新增",1," ",1," ",{"$nulls":5}," "," "," ",1,1,null,null," "]
["楚雄分行","州分行营业部","无","更换",1," "," "," ",{"$nulls":5}," "," "," "," "," ",null,null," "]
["玉溪分行","华宁县宁州支行","新建","新增"," ",1,1," ",{"$nulls":5}," "," "," "," "," ",null,null," "]
[null,"峨山县嶍峨支行","新建","新增"," ",1,1," ",{"$nulls":5}," "," "," "," "," ",null,null," "]
[null,"元江县太阳城支行","新建","新增"," ",1,1," ",{"$nulls":5}," "," "," ",1,null,null,1," "]
["临沧支行","云县爱华镇支行","新建","新增",1," ",1,{"$nulls":9},2,null,1]
["德宏分行","勐巴娜西支行","原址安防改造","新增"," "," ",2," ",{"$nulls":5}," "," "," "," "," "," "," "," "]
[null,"陇川县三象北路支行","新建","新增",1," ",1,null,null,1,1,null,1,null,1,null,2,1,null,1]
[null,"梁河县龙窝大道支行","新建","新增",1,null,1,null,1,1,1,{"$nulls":3},1,null,2,1,null,1]
["文山分行","龙海路支行","无","新增",null,null,1,{"$nulls":7},1]
[null,"广南支行","无","更换",null,null,1]
[null,"富宁支行","无","更换",null,null,1]
[null,"麻栗坡县学府路支行","新建","新增",null,1,1,{"$nulls":7},1,null,2,1]
[null,"砚山七乡大道支行","无","新增",{"$nulls":10},1]
[null,"七花广场支行","无","新增",{"$nulls":10},1]
["迪庆支行","维西县顺城北路支行","新建","新增",1,null,1,1,{"$nulls":6},1,null,1,1]
["怒江支行","兰坪县人民路支行","新建","新增",1,null,1,null,null,1,1,1,null,null,1,1,null,1]
["普洱分行","澜沧东朗支行","搬迁","更换",1,null,1,1,1,1,{"$nulls":4},1,null,1,1]
["丽江分行","永胜县凤鸣南路支行","搬迁","更换",1,null,1]
["合计",{"$nulls":3},14,4,24,5,2,4,3,1,1,1,17,1,14,7,1,3,4]